International Journal of Advances in Intelligent Informatics
ISSN 2442-6571
[image: image67.png]


Vol. 4, No. 2, July 2018, pp. xx-xx

1
6
International Journal of Advances in Intelligent Informatics  
ISSN 2442-6571
[image: image68.png]Guayy = D
&) T R Goxyy + Brey,




Vol. 4, No. 2, July 2018, pp. xx-xx
ISSN 2442-6571
International Journal of Advances in Intelligent Informatics
5
[image: image69.png]7
NCR-2pXNCR-y,

wg T




Vol. 4, No. 2, July 2018, pp. xx-xx

Contrast Enhancement for Improved Blood Vessels Retinal Segmentation Using Top-Hat Transformation and Otsu Thresholding
First Author a,1,*, Second Author b,2, Third Author b,3 (11pt)
a First affiliation, Address, City and Postcode, Country (9pt)
b Second affiliation, Address, City and Postcode, Country (9pt)
1 Email First Author*; 2 Email Second Author; 3 Email Third Author (9pt)
* corresponding author
	ARTICLE INFO
	
	ABSTRACT
	

	Article history
Received

Revised 

Accepted
	
	Diabetic Retinopathy is a diabetes complication that usually results in abnormalities in the retinal blood vessels of the eye, resulting in blurry vision, including blurry vision and blindness. Automatic segmentation of blood vessels in retinal images can detect abnormalities in these blood vessels, actually resulting in faster and more accurate segmentation results. The paper proposed an automatic blood vessel segmentation method that combined Otsu Thresholding with image enhancement techniques, including Contrast Limited Adaptive Histogram Equalization (CLAHE) and Top-hat transformation for retinal image. The retinal image data used in the study were the Digital Retinal Images for Vessel Extraction (DRIVE) dataset generated by the fundus camera. The CLAHE and Top-hat transformation methods were used to increase the contrast of the retinal image and reduce noise so that blood vessels could be highlighted appropriately and the segmentation process could be facilitated. Otsu Thresholding was used to distinguish between blood vessel pixels and background pixels. The performance evaluation measures of the methods used are accuracy, sensitivity, and specificity. The DRIVE dataset's study results showed that the average accuracy, sensitivity, and specificity values were 94.7%, 72.28%, and 96.87%, respectively, indicating that the proposed method was successful through blood vessels segmentation retinal images especially for thick blood vessels.
[image: image70.png]


This is an open access article under the CC–BY-SA license.

   
	

	Keywords
Segmentation
Image Enchancement
Otsu Thresholding
CLAHE
Top-Hat Transformation
Blood Vessels

Retina

	
	
	


1. Introduction
The retina is an important part of the human body. Changes in the structure of the eye's retina are a sign of a disease, such as Diabetic Retinopathy (DR) [1]. DR is a complication of diabetes that causes abnormalities in the retinal blood vessels of the eye, resulting in blurry vision such as blurred vision and blindness [2]. Blood vessel abnormalities can be detected by segmenting blood vessels on retinal images generated by fundus cameras [3]. Blood vessel segmentation is typically performed by hand by experts/doctors. This process is time-consuming and prone to human error, making it unsuitable for large amounts of image data and complicated blood vessel structures [4], [5]. As a result, automatic segmentation with the aid of a computer is required to obtain a more accurate and efficient segmentation of blood vessels [6]. 

Image quality has a significant impact on the results of retinal blood vessel segmentation [1]. Image quality has a considerable effect on the results of retinal blood vessel segmentation [1]. Retinal images produced by fundus cameras frequently have low contrast and noise, leading to misdiagnosis and the inability to detect disturbances [7]. Contras Limited Adaptive Histogram Equalization is one method for increasing contrast in an image (CLAHE). The CLAHE method can uniformly and effectively increase the contrast between blood vessels and the background while reducing noise [8], [9]. Several studies that used CLAHE to improve image contrast, including Shahid and Taj [4], Bahadar Khan, Khaliq and Shahid [5], and Ravichandran and Raja [10], produced good retinal blood vessel segmentation. Although the three studies reached accuracy and specificity levels above 95%, the resulting sensitivity value is still low. Top-hat transformation is another method for increasing contrast. By increasing bright things from dark backgrounds, this method can highlight small objects with detail [11]. Several studies, including those conducted by Kushol et al. [12], Siddique et al. [13], and Bharkad [14],  found that using the Top-hat transformation method after CLAHE resulted in better image quality, with the blood vessels in the retinal image being more precise and detailed than before. The accuracy and specificity obtained from the three studies were greater than 95%, but the sensitivity value obtained was still low.

Various segmentation methods have been developed, Otsu Thresholding is an efficient and straightforward segmentation method [9], [15]. Otsu Thresholding is a technique for converting an image into a binary image by determining the best threshold point. This method has the advantage of working better on enhanced images and performing simple computational calculations [16]. Several studies that have applied the Otsu Thresholding method for blood vessel segmentation include Tian et al. [9] used Otsu Thresholding with image improvement using Frangi Hessian and Improved mathematical morphology, resulting in accuracy and specificity of 95.54% and 98.02%, respectively, but the sensitivity value produced was still low at 69.42%. Ali and Muhammad [17] used Otsu Thresholding to improve the image using the Frangi filter, resulting in 96.99% accuracy and 97.28% specificity, but the sensitivity value remained low at 63.99%. Wang et al. [18] used Otsu Thresholding with a Hessian filter to improve the image, yielding a sensitivity value of 34.58% but did not discuss the accuracy and specificity results.

Several existing studies, it showed that image improvement greatly affects the results of segmentation on the image. This study used the advantages of CLAHE and Top-hat transformation in improving the quality image for segmentation using the Otsu Thresholding method. The expected result of this research was to obtain better and more accurate retinal image blood vessel segmentation using the Otsu Thresholding method through the stages of image quality enhancement.

2.  Method 
2.1. DRIVE Dataset 

The dataset used for blood vessel segmentation is the DRIVE (Digital Retinal Images for Vessel Extraction) dataset, which can be downloaded for free from an online database https://drive.grandchallenge.org/DRIVE/. This dataset contained 40 images divided into two parts: 20 training images and 20 test images. This database also included expert/doctoral analysis results that could be used as a baseline for comparing segmentation results. The input images were 20 testing data from the DRIVE dataset that measured 565 x 584 pixels, had 96 dpi, was 712 KB in size, and was in .tif format.
2.2. Image Enchancement
Image enhancement is the first step in image segmentation which aims to remove noise, increase image contrast, and obtain better segmentation results. The stages of image enhancement used in this study were as followed:

1) Green Channel: First, a BGR retinal image was converted to an RGB image (Red, Green, Blue). Take a green channel that had less noise and a more stable contrast [1]. Compared to other RGB channels, the green channel could distinguish between blood vessels and the background [1], [19]. The Equation for the green channel could be found in Equation (1). 
[image: image71.png]




where g(x,y) was the green channel image pixel, R(x,y) was the red pixel value, G(x,y) was the green pixel value, and B(x,y) was the blue pixel value.

2) Complement Operation: Following that, a complement operation was performed to aid in the clarification of blood vessels in the retinal image [3]. The complement operation, also known as the negative image operation, improved the resulting image by subtracting each pixel from the maximum intensity value [20]. Complement operations were computed by transforming functions with intensity levels ranging from [0, L − 1] [20], [21]. The Equation for the green channel could be found in Equation (2) [20].


[image: image1.wmf](

)

r

L

r

T

S

-

-

=

=

1




where L − 1 was the maximum intensity value with L = 255, S was the output pixel value, and r was the input pixel value.
3) Contrast Limited Adaptive Histogram Equalization (CLAHE): Furthermore, the CLAHE method was used for contrast enhancement. CLAHE is a method developed to address the issue of low contrast and color unevenness in digital images, especially medical images [22]. The CLAHE algorithm worked by segmenting the image into contextual regions and then applying Histogram Equalization (HE) to each area by flattening the gray value distribution, making hidden features in the image more visible [23]. 
CLAHE worked by assigning a limit value to the histogram and limiting contrast enhancement [24]. This limit value was known as the clip limit, and it specified the maximum height of a histogram. To calculate the CLAHE result, it computed the average number of pixels in an image using Equation (3) [24].
[image: image72.png]



where Navg was the average number of pixels, Ngray was the number of gray levels in the contextual region, NCR-xp was the number of pixels in the contextual region's x-direction, and NCR-yp was the number of pixels in the contextual region's y-direction.

Furthermore, to calculate the actual clip limit could use Equation (4) [24].


[image: image3.wmf]avg

CLIP

CL

N

N

N

´

=


 

where NCL was the actual clip limit value, and NCLIP was the input CL in the range [0, 1].
4) Top-hat Transformation: The top-hat transformation method was then used to highlight the blood vessels in greater detail. Top-hat transformation is a technique for redistributing the grayscale intensity of a grayscale retinal image to produce image characteristics. This technique could be used to highlight the structure of blood vessels while smoothing out the background [25]. Systematically, the Top-hat transformation equation could be seen in Equation (5) [25].

[image: image4.wmf](

)

(

)

B

A

A

A

T

hat

o

-

=



where A represented the image input, B represented the structuring element or matrix operator, and [image: image6.png]


 was operasi opening This transformation aided in determining the overall shape of an object with varying intensities. The Top-hat transformation could highlight blood vessel structure while smoothing the background [25].

2.3. Segmentation
At this point, the image enhancement was converted into a binary image by splitting the image's features into two parts, namely retinal blood vessels (foreground) as white pixels and not retinal blood vessels (background) as black pixels [26]. Otsu Thresholding was used in this study for retinal image segmentation.


Thresholding functions were used to convert a gray image into a binary image that is dependent on the threshold value (T) to determine which areas are included in the foreground and background. To create a binary image, the image binarization process was as followed:

[image: image7.wmf](

)

(

)

î

í

ì

<

³

=

T

y

x

f

jika

T

y

x

f

jika

y

x

g

,

0

,

1

)

,

(



where g(x,y) was the binary image ofe f(x,y) and T was the threshold value. In this study, Otsu Thresholding was used to automatically divide the gray histogram image into two different areas without requiring the user to enter a threshold value [16]. The threshold in this method refered to the threshold at the maximum variance. The following equations were used in the Otsu Thresholding method [27]:


Calculate the probability for the background pixel q1(t), the blood vessel pixel q2(t), the variance for the background pixel σ12(t), and the variance for blood vessel pixel σ22(t) using Equations (7) - (10) as followed [27]:


[image: image8.wmf](

)

å

=

=

t

i

i

P

t

q

1

1

)

(




[image: image9.wmf](

)

å

+

=

=

t

t

i

i

P

t

q

1

2

)

(




[image: image10.wmf][

]

(

)

(

)

å

=

ú

û

ù

ê

ë

é

-

=

t

i

t

q

i

P

t

i

i

P

t

1

1

2

1

2

1

)

(

)

(

)

(

m

s




[image: image11.wmf][

]

(

)

(

)

å

+

=

ú

û

ù

ê

ë

é

-

=

t

t

i

t

q

i

P

t

i

i

P

t

1

2

2

2

2

2

)

(

)

(

)

(

m

s



The average background pixels was μ1(t) and blood vessel pixels μ2(t) could be calculated using Equations (11) and (12) [27].


[image: image12.wmf](

)

(

)

å

=

ú

û

ù

ê

ë

é

=

t

i

t

q

i

P

i

t

1

1

1

)

(

m




[image: image13.wmf](

)

(

)

å

+

=

ú

û

ù

ê

ë

é

=

t

t

i

t

q

i

P

i

t

1

2

2

)

(

m



where t was the image's threshold value in the range [0, L − 1]. P(i) was the probability for the ith pixel defined as P(i)=n(i)/n, where n(i) was the total number of grayscale pixels and n was the total number of pixels. 










Calculate the variance between the blood vessel and background pixels using Equation (13) [27].

[image: image14.wmf](

)

(

)

(

)

)

(

)

(

2

2

2

2

1

1

2

t

t

q

t

t

q

t

w

s

s

s

+

=



2.4. Evaluation
Several performance evaluation measures used to see the success of the proposed method are accuracy, sensitivity, and specificity. An accuracy was a metric used to assess the effectiveness of the proposed method for segmenting retinal blood vessels. A sensitivity was a measure of the proposed method's ability to predict retinal blood vessel pixels correctly. At the same time, the specificity value was a measure of the proposed method's ability to predict non-vessel pixels [9], [22]. The resulting confusion matrix could be used to calculate the performance evaluation measure.

Overall, the steps proposed in this study could be seen in Fig. 1.
[image: image15.png]Retinal Image

Image Enhancement

Segmentation

Otsu Thresholding

I
|
I
i
I
Green Channel Top-hat . :
Transformation '
I
I
i
|
Compleljnent CLAHE i
Operation !
|
Ve e oo LTl
Performance

Result Ground Truth

Analysis





Fig. 1. Flowchart of blood vessels segmentation

3. Results and Discussion
In this study, 20 retinal images from the DRVIE dataset testing data were processed in two stages: image enhancement and segmentation. The retinal image with BGR type was converted into RGB type during the image enhancement stage. Next, take the green channel from the RGB image because it had a more stable contrast. The complement operation and CLAHE methods were then used to increase the contrast of the dark image so that the image's detailed features could be seen clearly and to facilitate the separation of image objects from the background. The CLAHE repaired result still had noise, so a top-hat transformation was applied to smooth the background. The image from the top-hat transformation would be applied to segment using Otsu thresholds. It step was used to separate the features into two parts, namely the retinal blood vessels (foreground) as white pixels and the non-retinal blood vessels (background) as black pixels. An example of the results of images enhancement and segmentation were applied on data with the file names "test_01", "test_04", and "test_18". The results were carried out in this study could be seen in Fig. 2.

	Test_01
	[image: image16.png]



	[image: image17.png]



	[image: image18.png]



	[image: image19.png]



	[image: image20.png]



	[image: image21.png]




	Test_04
	[image: image22.png]



	[image: image23.png]



	[image: image24.png]



	[image: image25.png]



	[image: image26.png]



	[image: image27.png]




	Test_18
	[image: image28.png]



	[image: image29.png]



	[image: image30.png]



	[image: image31.png]



	[image: image32.png]



	[image: image33.png]




	
	(a)
	(b)
	(c)
	(d)
	(e)
	(f)


Fig. 2. Image enhancement and segmentation result (a) RGB (b) Green channel (c) Complement operation (d) CLAHE (e) Top-hat transformation (f) Otsu Thresholding
The histogram graph showed the success of increasing the contrast in an image. This graph described the frequency of occurrence of a pixel's intensity value. The comparison of image histogram graphs between before CLAHE, after CLAHE, and Top-hat transformation could be seen in Fig 3, Fig 4, and Fig 5.
[image: image34.png]00

0000

5000

2000

135000

5000

Eg

=0




Fig. 3. Histogram graph of before CLAHE
According to the distribution of the histogram graph of the image before CLAHE in Fig. 3, the graph appeared irregular. It had an uneven height or frequency of pixel values. Visually, the pattern of blood vessels in the image before CLAHE was not visible due to the varying contrast of the image, so it was necessary to increase the contrast and lower the image's brightness.
[image: image35.png]1000

2000

000

00

00

200

20

00





Fig. 4. Histogram graph of after CLAHE
Based on Fig. 4, it could be seen that the resulting image after CLAHE had better contrast quality than the image in Fig. 3. In the graph of the histogram equalization results, it could be seen that the frequency of occurrence of pixel values or the height of the graph were more evenly distributed compared to the previous image. Image pixel values after CLAHE spread in the range 0 to 255.
[image: image36.png]4
5

20000

w500

15000

2500

70

E3

)

0

)




Fig. 5. Histogram graph of top-hat transformation.
In Fig. 5, it could be seen that a dark black color dominates the image resulting from the Top-hat transformation in the histogram graph. This could be seen in the distribution of pixel values, which tend to approach 0 with a range of 0 to 140. Even though the image was dark, the pattern of blood vessels was visible in general. An example of the prediction results of retinal blood vessel segmentation and ground truth for 10 testing data images could be seen in Table 1.

Table 1. Comparison of Segmentation Result with Ground Truth
	Name  of Image
	Original  Image
	Segmentation

	
	
	Ground Truth
	Result

	01_test
	[image: image37.png]



	[image: image38.png]



	[image: image39.png]




	02_test
	[image: image40.png]



	[image: image41.png]



	[image: image42.png]




	03_test
	[image: image43.png]



	[image: image44.png]



	[image: image45.png]




	04_test
	[image: image46.png]



	[image: image47.png]



	[image: image48.png]




	05_test
	[image: image49.png]



	[image: image50.png]



	[image: image51.png]




	06_test
	[image: image52.png]



	[image: image53.png]



	[image: image54.png]




	07_test
	[image: image55.png]



	[image: image56.png]



	[image: image57.png]




	08_test
	[image: image58.png]



	[image: image59.png]



	[image: image60.png]




	09_test
	[image: image61.png]



	[image: image62.png]



	[image: image63.png]




	10_test
	[image: image64.png]



	[image: image65.png]



	[image: image66.png]





The proposed method could segment blood vessels in retinal images based on the results of segmentation predictions. In Table I, it compared to each image's ground truth. However, there were still some thin blood vessels that cannot be properly segmented. Each pixel in each image segmentation prediction result would be included in a confusion matrix. Confusion matrix was could be used to calculate method performance metrics such as accuracy, sensitivity, and specificity [28], [29]. The confusion matrix results obtained by the blood vessel segmentation process could be seen in Table 2.
Table 2. Confusion Matrix Result
	Ground truth
	Segmentation Result

	
	Blood vessels
	Background

	Blood vessels
	417,801
	160,144

	Background
	195,621
	5,825,634


According to Table 2, the TP value was 417,801, which indicates that the number of pixels of retinal blood vessels that were correctly predicted in the segmentation results was 417,801 pixels. Furthermore, the FP value was 195,621, implying there were 195,621 background pixels which were predicted as retinal blood vessels in the segmentation results. Then, the FN value was 160,144 pixels, indicating that the number of retinal blood vessels predicted as background in the segmentation results was 160,144 pixels. Then, the TN value was 5,825,634, indicating that the number of pixels that were correctly predicted as the background in the segmentation results was 5,825,634 pixels.

Based on Table 2, it could calculate the accuracy, sensitivity and specificity to evaluate the segmentation result that obtained from the proposed method on this study. The resulted for each of the 20 standardized images data, could be seen in Table 3.

Table 3. Measurement Results for Accuracy, Sensitivity, and Specificity
	Name of Image
	Accuracy (%)
	Sensitivity 

(%)
	Specitivity

(%)

	01_test.tif
	95.9
	77.11
	97.74

	02_test.tif
	96.04
	72.3
	98.75

	03_test.tif
	92.42
	75.35
	94.31

	04_test.tif
	95.64
	57.31
	99.53

	05_test.tif
	95.13
	66.42
	98.1

	06_test.tif
	94.02
	70.41
	96.56

	07_test.tif
	94.56
	66.96
	97.33

	08_test.tif
	91.42
	75.2
	92.94

	09_test.tif
	95.43
	67.6
	97.89

	10_test.tif
	95.13
	70.02
	97.38

	11_test.tif
	95.47
	63.07
	98.66

	12_test.tif
	92.51
	79.48
	93.74

	13_test.tif
	94.96
	67.08
	97.98

	14_test.tif
	93.91
	80.57
	95.08

	15_test.tif
	94.64
	74.36
	96.2

	16_test.tif
	95.84
	69.85
	98.42

	17_test.tif
	94.71
	71.85
	96.82

	18_test.tif
	95.37
	74.54
	97.16

	19_test.tif
	95.9
	86.16
	96.79

	20_test.tif
	94.91
	79.95
	96.1


The average accuracy, sensitivity, and specificity result of the study for 20 DRIVE testing data were 94.7%, 72.28%, and 96.87%, respectively, according to Table 3. The 02_test.tif image obtained the highest accuracy value of 96.04%, where the segmented prediction results in the image almost resembled with ground truth. In contrast, the 08_test.tif image obtained the lowest accuracy value of 91.42% because the segmentation prediction results still had a lot of noise. The 19_test.tif image of 86.16% showed the highest sensitivity result. It indicated that thin blood vessels could be detected properly by proposed method. The 08_test.tif, on the other hand, had the lowest sensitivity value of 57.31% because the predicted image could not detect thin blood vessels on the image.

The highest specificity result obtained by 04_test.tif image of 99.53%. From the Table 3, the segmented image still had little noise compared with ground truth image, and the lowest specificity value obtained by 08_test.tif image of 92.94%. It meant the predicted image still had a lot of noise it could be seen also on Table 3. Overall, the accuracy, sensitivity, and specificity generated by the proposed method for segmenting retinal blood vessels were considered high and could help the medical team diagnose retinal blood vessels. However, there were still thin blood vessels that could not be detected and segmented visually. It meant the proposed method was still needed improvement to detect thin blood vessel on retinal images.
Table 4. Comparison of Segmentation Methods
	Method
	Result

	
	Accuracy (%)
	Sensitivity (%)
	Spesitivity (%)

	Frangi hessian + Otsu Thresholding [9]
	95.54
	69.42
	98.02

	Top-hat
and Bottom-hat Transform + RUSBoost Classsifier[12]
	93.79
	62.96
	98.30

	Frangi filter + Otsu Thresholding [17]
	96.99
	63.99
	97.28

	Hessian based linear
filter + Otsu

thresholding [18]
	-
	34.58
	-

	CLAHE-Average Filter + Isodata Thresholding [30]
	94.78
	43.46
	98.81

	Proposed Method (DRIVE)
	94.7
	72.28
	96.87


According to Table 4, Ali and Muhammad [17] achieved the highest accuracy value of 96.99% by combining Otsu Thresholding with image improvement using the Frangi filter. However, the sensitivity value was lower than that of the proposed method and research by Tian et al. [9]. The proposed method yielded the highest sensitivity value of 72.28%. Erwin and Damayanti [30] achieved the highest specificity value of 98.81% using Isodata thresholding with image enhancement using CLAHE and Average Filter, but the sensitivity produced was still low 43.46%. Based on the average results of the proposed method's performance evaluation, it could be concluded that the accuracy of architecture for segmenting blood vessels was excellent, as indicated by an accuracy value of 94.7%. The sensitivity value of 72.28% was also quite good to predict retinal compared to other studies. Based on sensitivity value, the proposed method works well on thick blood vessels on retinal image but it still needs to improve the method to predict on thin retinal blood vessels. With a specificity value of 0.961, the proposed method on the study has an excellent ability to predict background pixels on retinal image
4. Conclusion

According to the results of previous research, segmentation of blood vessels in retinal images using the Otsu Thresholding method with image improvement using CLAHE and Top-hat transformation can segment the retinal blood vessels of the eye with an average accuracy of 94.7%, sensitivity of 72.28%, and specificity of 96.87%. These results meant the proposed method was a good enough to detect blood vessels and the segmentation results also demonstrated that the blood vessels were successfully extracted visually especially for thick vessel. The sensitivy that resulted was 72.28%, it showed the proposed method is good to segment thick blood vessel on retinal image but it should be improved to segment the thin blood vessel of retina. Based on the specificity value, the proposed methow is excellent to segment or predict pixels background on retinal images.
Acknowledgment
The authors would like to express their gratitude to the DRIVE project team for making their image database publicly available on the Internet. To Sriwijaya University (UNSRI) that provided facility for this research. 

References

[1]
T. A. Soomro et al., “Impact of Novel Image Preprocessing Techniques on Retinal Vessel Segmentation,” Electron., vol. 10, no. 18, pp. 1–19, 2021, doi: 10.3390/electronics10182297.

[2]
S. Gayathri, V. P. Gopi, and P. Palanisamy, “Automated classification of diabetic retinopathy through reliable feature selection,” Phys. Eng. Sci. Med., vol. 43, no. 3, pp. 927–945, 2020, doi: 10.1007/s13246-020-00890-3.

[3]
H. A. Nugroho, T. Lestari, R. A. Aras, and I. Ardiyanto, “Segmentation of retinal blood vessels using Gabor wavelet and morphological reconstruction,” in Proceeding - 2017 3rd International Conference on Science in Information Technology: Theory and Application of IT for Education, Industry and Society in Big Data Era, ICSITech 2017, 2017, pp. 513–516, doi: 10.1109/ICSITech.2017.8257166.

[4]
M. Shahid and I. A. Taj, “Robust Retinal Vessel Segmentation using Vessel ’ s Location Map and Frangi Enhancement Filter,” Inst. Eng. Technol., 2018, doi: 10.1049/iet-ipr.2017.0457.

[5]
K. BahadarKhan, A. A. Khaliq, and M. Shahid, “A morphological hessian based approach for retinal blood vessels segmentation and denoising using region based otsu thresholding,” PLoS One, vol. 11, no. 7, pp. 1–19, 2016, doi: 10.1371/journal.pone.0158996.

[6]
A. Salazar-Gonzalez, D. Kaba, Y. Li, and X. Liu, “Segmentation of the blood vessels and optic disk in retinal images,” IEEE J. Biomed. Heal. Informatics, vol. 18, no. 6, pp. 1874–1886, 2014, doi: 10.1109/JBHI.2014.2302749.

[7]
Z. Shen, H. Fu, J. Shen, and L. Shao, “Modeling and Enhancing Low-Quality Retinal Fundus Images,” IEEE Trans. Med. Imaging, vol. 40, no. 3, pp. 996–1006, 2020, doi: 10.1109/TMI.2020.3043495.

[8]
M. Zhou, K. Jin, S. Wang, J. Ye, D. Qian, and S. Member, “Color Retinal Image Enhancement Based on Luminosity and Contrast Adjustment,” IEEE Trans. Biomed. Eng., vol. 65, no. 3, pp. 521–527, 2017, doi: 10.1109/TBME.2017.2700627.

[9]
F. Tian, Y. Li, J. Wang, and W. Chen, “Blood Vessel Segmentation of Fundus Retinal Images Based on Improved Frangi and Mathematical Morphology,” Hindawi, vol. 2021, no. tulis disiini, 2021.

[10]
C. G. Ravichandran and J. B. Raja, “A Fast Enhancement / Thresholding Based Blood Vessel Segmentation for Retinal Image Using Contrast Limited Adaptive Histogram Equalization,” J. Med. Imaging Heal. Informatics, vol. 4, no. 4, pp. 567–575, 2014, doi: 10.1166/jmihi.2014.1289.

[11]
O. Ramos-soto et al., “An Efficient Retinal Blood Vessel Segmentation in Eye Fundus Images by Using Optimized Top-Hat and Homomorphic Giltering,” Comput. Methods Programs Biomed., vol. 201, 2021, doi: 10.1016/j.cmpb.2021.105949.

[12]
R. Kushol, M. H. Kabir, M. S. Salekin, and A. B. M. Ashikur Rahman, “Contrast enhancement by top-hat and bottom-hat transform with optimal structuring element: Application to retinal vessel segmentation,” Lect. Notes Comput. Sci. (including Subser. Lect. Notes Artif. Intell. Lect. Notes Bioinformatics), vol. 10317, pp. 533–540, 2017, doi: 10.1007/978-3-319-59876-5_59.

[13]
F. Siddique, T. Iqbal, S. M. Awan, Z. Mahmood, and G. Z. Khan, “A Robust Segmentation of Blood Vessels in Retinal Images,” in Proceedings - 2019 International Conference on Frontiers of Information Technology, FIT 2019, 2019, pp. 83–88, doi: 10.1109/FIT47737.2019.00025.

[14]
S. Bharkad, “Automatic Segmentation of Blood Vessels in Retinal Image using Morphological Filters,” in ACM International Conference Proceeding Series, 2017, pp. 132–136, doi: 10.1145/3056662.3056710.

[15]
E. Erwin, S. Saparudin, and W. Saputri, “Hybrid Multilevel Thresholding and Improved Harmony Search Algorithm for Segmentation,” Int. J. Electr. Comput. Eng., vol. 8, no. 6, p. 4593, 2018, doi: 10.11591/ijece.v8i6.pp4593-4602.

[16]
F. Bukenya, A. Kiweewa, and L. Bai, “A Review of Vessel Segmentation Techniques,” in International Conference on Computer Applications & Information Security (ICCAIS), 2017, no. January 2017, doi: 10.1109/CAIS.2018.8441989.

[17]
O. Ali and N. Muhammad, “A Comparative Study of Automatic Vessel Segmentation Algorithms,” in 3rd International Conference on Computing, Mathematics and Engineering Technologies (iCoMET), 2020, pp. 1–6.

[18]
H. Wang, Y. Jiang, X. Jiang, J. Wu, and X. Yang, “Automatic Vessel Segmentation on Fundus Images using Vessel Filtering and Fuzzy Entropy,” Soft Comput., vol. 22, no. 5, pp. 1–9, 2017, doi: 10.1007/s00500-017-2872-4.

[19]
K. B. Shaik, P. Ganesan, V. Kalist, B. S. Sathish, and J. M. M. Jenitha, “Comparative Study of Skin Color Detection and Segmentation in HSV and YCbCr Color Space,” in Procedia Computer Science, 2015, vol. 57, pp. 41–48, doi: 10.1016/j.procs.2015.07.362.

[20]
R. C. Gonzalez and R. E. Woods, Digital Image Processing (Third Edition). United States: Prentice Hall, 2008.

[21]
J. Chaki and N. Dey, A Beginner’s Guide to Image Pre-processing Techniques. London: Taylor & Francis Ltd, 2018.

[22]
A. Desiani, B. Suprihatin, S. Yahdin, A. I. Putri, and F. R. Husein, “Bi - path Architecture of CNN Segmentation and Classification Method for Cervical Cancer Disorders Based on Pap - smear Images,” IAENG Int. J. Comput. Sci., vol. 48, no. 3, pp. 782–791, 2021, [Online]. Available: http://www.iaeng.org/IJCS/issues_v48/issue_3/IJCS_48_3_37.pdf.

[23]
Sonali, S. Sahu, A. K. Singh, S. P. Ghrera, and M. Elhoseny, “An Approach for De-noising and Contrast Enhancement of Retinal Fundus Image using CLAHE,” Opt. Laser Technol., vol. 110, pp. 87–98, 2019, doi: 10.1016/j.optlastec.2018.06.061.

[24]
G. Yadav, S. Maheshwari, and A. Agarwal, “Contrast Limited Adaptive Histogram Equalization Based Enhancement For Real Time Video System,” IEEE, 2014.

[25]
Z. Jiang, J. Yepez, S. An, and S. Ko, “Fast, accurate and robust retinal vessel segmentation system,” Biocybern. Biomed. Eng., vol. 37, no. 3, pp. 412–421, 2017, doi: 10.1016/j.bbe.2017.04.001.

[26]
A. Bali and S. N. Singh, “A review on the strategies and techniques of image segmentation,” Int. Conf. Adv. Comput. Commun. Technol. ACCT, vol. 2015-April, pp. 113–120, 2015, doi: 10.1109/ACCT.2015.63.

[27]
Wiharto and Y. S. Palgunadi, “Blood Vessels segmentation in retinal fundus image using hybrid method of Frangi Filter, Otsu thresholding and morphology,” Int. J. Adv. Comput. Sci. Appl., vol. 10, no. 6, pp. 417–422, 2019, doi: 10.14569/ijacsa.2019.0100654.

[28]
A. Desiani, N. R. Dewi, A. N. Fauza, N. Rachmatullah, M. Arhami, and M. Nawawi, “Handling Missing Data Using Combination of Deletion Technique, Mean, Mode and Artificial Neural Network Imputation for Heart Disease Dataset,” Sci. Technol. Indones., vol. 6, no. 4, 2021, doi: 10.26554/sti.2021.6.4.303-312.

[29]
A. Desiani, S. Yahdin, A. Kartikasari, and Irmeilyana, “Handling the imbalanced data with missing value elimination SMOTE in the classification of the relevance education background with graduates employment,” IAES Int. J. Artif. Intell., vol. 10, no. 2, pp. 346–354, 2021, doi: 10.11591/ijai.v10.i2.pp346-354.

[30]
E. Erwin and H. R. Damayanti, “Supervised Retinal Vessel Segmentation Based Average Filter and Iterative Self Organizing Data Analysis Technique,” Int. J. Comput. Intell. Appl., vol. 2150003, pp. 1–13, 2021, doi: 10.1142/S1469026821500036.


       http://ijain.org

          ijain@uad.ac.id 

First Author et.al (Title of paper shortly)

First Author et.al (Title of paper shortly)

_1700903687.unknown

_1700903689.unknown

_1700903691.unknown

_1700903693.unknown

_1700904581.unknown

_1700903692.unknown

_1700903690.unknown

_1700903688.unknown

_1700903683.unknown

_1700903685.unknown

_1700903681.unknown

